# Annex A: Information on chiller system design

- Typical chiller system design workflow

- Variables that affect chiller plant system efficiency

- Chiller configuration

  - Chiller size and subsequently, the specification of the other chiller plant components

  - Chiller staging

  - Chiller type (screw, centrifugal, VSD screw, magnetic bearing centrifugal, etc)

  - Chiller brands (which may affect factors such as pressure drop)

- Design specifications

  - Condenser water supply/return temperature

  - Chilled water supply/return temperature

  - Condenser and chilled water delta T & flow rate